## Slide 1
Utilizing unused renewable energy

## Slide 2: Problem
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
Power production is inconsistent
Excess energy is generated
Source: https://www.energy-charts.de/power.htm?source=wind-onshore&year=2020&week=3
Figure 1: Peaks and lows of onshore wind power plants in Germany
Power (MWh)

## Slide 3: Energy storage systems
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
Possible solution?
Which system fits best?
Excess energy
Power-to-Gas
Vehicle to grid
Hydrogen
Battery storage system
Pumped storage hydropower

## Slide 4: Vehicle to grid
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian

## Slide 5: Vehicle to grid
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian

## Slide 6: Vehicle to grid
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian

## Slide 7: Hydrogen as an energy storage system
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian

## Slide 8: Pumped storage hydropower
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
Source: https://en.wikipedia.org/wiki/Pumped-storage_hydroelectricity

## Slide 9: Pumped storage hydropower
Lifecycle 20 to 50 years
Issue: Suitable terrain
  Elevation
  Water availability
New technology

## Slide 10: Power-to-Gas
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
Figure X: Power-to-Gas concepts

## Slide 11: Batteries
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
Vanadium Redox Flow Battery
Source: https://en.wikipedia.org/wiki/Vanadium_redox_battery#/media/File:Redox_Flow_Battery.jpg

## Slide 12: Vanadium Redox Flow Battery
12,000-20,000 cycle life (90% capacity drop)
330-970 €/kWh
75% efficiency
Disadvantages
  Toxic chemicals
  Early stage in development
Advantages
  Power and energy are separated
  Discharge up to 20h

## Slide 13: Comparison
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
 | Cost | Efficiency | Safety | Scalability | Technical feasibility
Vehicle to grid | - - - | + | + + + | - - | - - -
Pumped storage hydropower | + | + + + | + + | + + | - -
Hydrogen | - - | - - - | + + | + + + | + + +
Power-to-Gas | - - | + | + + | + + + | + + +
Batteries | + + + | + + | + + | + + + | + +
Criteria
Systems
Table 1: Comparison between energy storage systems

## Slide 14: Conclusion
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
Various technologies technically feasible and scalable
Overall best solution  Battery storage

## Slide 15: Recommendations
Rocket Science // Moritz, Kai, Annabelle, Lennart, Christian
Construction of Battery Storage Facilities as soon as possible
Best current solution
Rapid developments into Hydrogen could substitute Batteries in the future